| Details | Dehrang Dam salient Features |
| --- | --- |
| Source | Dehrang Dam |
| Owner ship | Panvel Municipal Corporation |
| Distance from Panvel | 18 Km. |
| Construction as on | 1957 |
| Name of River | Gadhi River |
| Catchment Area | 27.00 Sq. Km. |
| Minimum Rain fall | 1720 mm |
| Run off | 115.70 cm (0.85p-30.50) |
| Yield | 1.15 x 27.00=31.05 Mcum |
| Original Capacity of Dam | 11.01 Mcum |
| Storage Capacity | 2.0Mcum (at the time of scheme preparation) |
| Revised Storage Capacity | 3.507 MCum (after gate fixing and strengthening of Dam) As per scheme and CDO Report |
| Present capacity of Dam | 2.70 Mcum (Decrease due to flood) |
| Dam Length | 335 m |
| Dam width Top | 3.00 mm (3.30M) |
| Total Gate Length | 111 m (8.70mx2.50m) =11 Nos. |
| Type of Gate | Godbole types Automatic Tilting Gate |
| Width of Berm | 0.00 m |
| Width of Berm Revised | 6.50 m |
| Berm Level Revised | 82.50 m |
| Riverbed level (S.L) | 75.40 m |
| Crest Level (Gate Sill Level) | 86.35 m (as per Gate Design) |
| F.R.L. (MWL) | 89.15 m |
| MDDL | 80.77 m |
| Water Depth above Crest | (88.86-86.36=2.50m) |
| Submergence Area | 272 m2 |
| Rate of water | 150 LPCD |
| Residual Head | 17 M |
| TBL | 91.65m |
| Latitude | 73’6” to 76’7” |
| Longitude | 18’58” to 18’59” |
| Maximum Rainfall | 4417 mm |
| Average Rain fall | 2000 mm |